ME470  Review Homework SOL --- Instructor : Shoeleh Di Julio

Chapter 5, Solution 184.

An adiabatic air compressor is powered by a direct-coupled steam turbine, which is also driving a generator. The net power delivered to the generator is to be determined.

Assumptions 1 This is a steady-flow process since there is no change with time. 2 Kinetic and potential energy changes are negligible. 3 The devices are adiabatic and thus heat transfer is negligible. 4 Air is an ideal gas with variable specific heats.

Properties From the steam tables (Tables A-4 through 6)

and	P3=12.5  MPa  h3=3343.6  kJ/kgP4=10  kPa  h4=hf+x4hfg=191.81+0.922392.1=2392.5  kJ/kg

From the air table (Table A-17),

98 kPa

295 K

1 MPa

620 K

10 kPa

12.5 MPa

500C

Air

comp

Steam

turbine

1

2

3

4

T1=295  K  h1=295.17  kJ/kgT2=620  K  h2=628.07  kJ/kg

Analysis  There is only one inlet and one exit for either device, and thus min=mout=m  . We take either the turbine or the compressor as the system, which is a control volume since mass crosses the boundary. The energy balance for either steady-flow system can be expressed in the rate form as

Ein−EoutunderbracealignlRate of net energy transfer by heat, work, and mass=ΔEsystemä0  (steady)underbracealignlRate of change in internal, kinetic,         potential, etc. energies=0Ein=Eout

For the turbine and the compressor it becomes

Compressor:

Turbine:

Substituting,

Wcomp, in=10  kg/s628.07−295.17 kJ/kg=3329  kWWturb, out=25  kg/s3343.6−2392.5 kJ/kg=23,777  kW

Therefore,

Wnet,out=Wturb,out−Wcomp,in=23,777−3329=20,448  kW

Chapter 5, Solution 189E.

Refrigerant-134a is compressed steadily by a compressor. The mass flow rate of the refrigerant and the exit temperature are to be determined.

Assumptions 1 This is a steady-flow process since there is no change with time. 2 Kinetic and potential energy changes are negligible. 3 The device is adiabatic and thus heat transfer is negligible.

Properties From the refrigerant tables (Tables A-11E through A-13E)

R-134a

2

1

P1=15  psia  v1=3.2551  ft3/lbmh1=107.52  Btu/lbm

Analysis  (a) The mass flow rate of refrigerant is

m=V1v1=10  ft3/s3.2551  ft3/lbm=3.072  lbm/s

(b) There is only one inlet and one exit, and thus . We take the compressor as the system, which is a control volume since mass crosses the boundary. The energy balance for this steady-flow system can be expressed in the rate form as

Ein−EoutunderbracealignlRate of net energy transfer by heat, work, and mass=ΔEsystemä0  (steady)underbracealignlRate of change in internal, kinetic,         potential, etc. energies=0Ein=Eout

Substituting,

(45 hp)0.7068  Btu/s1  hp=3.072 lbm/sh2−107.52 Btu/lbmh2=117.87  Btu/lbm

Then the exit temperature becomes

P2=100  psia T2=95.7°F

Chapter 7, Solution 109.

Refrigerant-134a enters an adiabatic compressor with an isentropic efficiency of 0.80 at a specified state with a specified volume flow rate, and leaves at a specified pressure. The compressor exit temperature and power input to the compressor are to be determined.

Assumptions 1 This is a steady-flow process since there is no change with time. 2 Kinetic and potential energy changes are negligible. 3 The device is adiabatic and thus heat transfer is negligible.

R-134a

C = 80%

2

1

0.3 m3/min

Analysis (a)  From the refrigerant tables (Tables A-11E through A-13E),

P1=120  kPa  h1=hg @ 120  kPa=236.97  kJ/kgs1=sg @ 120  kPa=0.94779  kJ/kg⋅Kv1=vg @ 120  kPa=0.16212  m3/kgP2=1  MPa  h2s=281.21  kJ/kg

From the isentropic efficiency relation,

Thus,	ηC=h2s−h1h2a−h1  h2a=h1+h2s−h1ηC=236.97+281.21−236.97/0.80=292.26  kJ/kgP2a=1  MPa T2a=58.9°C

(b)  The mass flow rate of the refrigerant is determined from

m=V1v1=0.3/60  m3/s0.16212  m3/kg=0.0308  kg/s

There is only one inlet and one exit, and thus . We take the actual compressor as the system, which is a control volume since mass crosses the boundary. The energy balance for this steady-flow system can be expressed as

Ein−EoutunderbracealignlRate of net energy transfer by heat, work, and mass=ΔEsystemÃ0  (steady)underbracealignlRate of change in internal, kinetic,         potential, etc. energies=0Ein=Eout

Wa,in+mh1=mh2     (since   {Q≃Δke≃Δpe≃0)Wa,in=m(h2−h1)

Substituting, the power input to the compressor becomes,

Wa,in=0.0308  kg/s292.26−236.97 kJ/kg=1.70  kW

Chapter 7, Solution 167.

Air flows in an adiabatic nozzle. The isentropic efficiency, the exit velocity, and the entropy generation are to be determined.

Properties The gas constant of air is R = 0.287 kJ/kg.K (Table A-1).

Assumptions 1 Steady operating conditions exist. 2 Potential energy changes are negligible.

Analysis (a) (b) Using variable specific heats, the properties can be determined from air table as follows

Air

500 kPa

400 K

30 m/s

300 kPa

350 K

T1=400 K    h1=400.98 kJ/kgs10=1.99194 kJ/kg.KPr1=3.806T2=350 K    h2=350.49 kJ/kgs20=1.85708 kJ/kg.KPr2=P2P1Pr1=300  kPa500  kPa3.806=2.2836h2s=346.31 kJ/kg

Energy balances on the control volume for the actual and isentropic processes give

h1+V122=h2+V222400.98 kJ/kg+(30 m/s)221 kJ/kg1000 m2/s2=350.49 kJ/kg+V2221 kJ/kg1000 m2/s2                                                    V2=319.1 m/s

h1+V122=h2s+V2s22400.98 kJ/kg+(30 m/s)221 kJ/kg1000 m2/s2=346.31 kJ/kg+V2s221 kJ/kg1000 m2/s2                                                    V2s=331.8 m/s

The isentropic efficiency is determined from its definition,

ηN=V22V2s2=(319.1 m/s)2(331.8 m/s)2=0.925

(c) Since the nozzle is adiabatic, the entropy generation is equal to the entropy increase of the air as it flows in the nozzle

sgen=Δsair=s20−s10−RlnP2P1(1.85708−1.99194)kJ/kg.K−(0.287 kJ/kg.K)ln300 kPa500 kPa=0.0118 kJ/kg.K

Chapter 7, Solution 175.

Steam expands in a two-stage adiabatic turbine from a specified state to specified pressure. Some steam is extracted at the end of the first stage. The power output of the turbine is to be determined for the cases of 100% and 88% isentropic efficiencies.

Assumptions 1 This is a steady-flow process since there is no change with time. 2 Kinetic and potential energy changes are negligible. 3 The turbine is adiabatic and thus heat transfer is negligible.

Properties From the steam tables (Tables A-4 through 6)

P1=6 MPa  h1=3423.1  kJ/kgs1=6.8826  kJ/kg⋅KP2=1.2  MPa  h2=2962.8 kJkgP3=20  kPa  x3s=s3s−sfsfg=6.8826−0.83207.0752=0.8552h3s=hf+x3shfg=251.42+0.85522357.5=2267.5  kJ/kg

Analysis (a)  The mass flow rate through the second stage is

m3=0.9m1=0.915  kg/s=13.5  kg/s

STEAM

15 kg/s

6 MPa

500°C

STEAM

13.5 kg/s

II

1.2 MPa

20 kPa

90%

I

10%

We take the entire turbine, including the connection part between the two stages, as the system, which is a control volume since mass crosses the boundary. Noting that one fluid stream enters the turbine and two fluid streams leave, the energy balance for this steady-flow system can be expressed in the rate form as

Ein−EoutunderbracealignlRate of net energy transfer by heat, work, and mass=ΔEsystemÃ0  (steady)underbracealignlRate of change in internal, kinetic,         potential, etc. energies=0Ein=Eout

m1h1=(m1−m3)h2+Wout+m3h3Wout=m1h1−(m1−m3)h2−m3h3m1(h1−h2)+m3(h2−h3)

Substituting, the power output of the turbine is

Wout=15  kg/s3423.1−2962.8 kJ/kg+13.5  kg2962.8−2267.5 kJ/kg=16,291   kW

(b)  If the turbine has an adiabatic efficiency of 88%, then the power output becomes

Wa=ηTWs=0.8816,291  kW=14,336   kW

Chapter 7, Solution 198.

Refrigerant-134a is vaporized by air in the evaporator of an air-conditioner. For specified flow rates, the exit temperature of air and the rate of entropy generation are to be determined for the cases of an insulated and uninsulated evaporator.

Assumptions 1 This is a steady-flow process since there is no change with time. 2 Kinetic and potential energy changes are negligible. 3 There are no work interactions. 4 Air is an ideal gas with constant specific heats at room temperature.

Properties The gas constant of air is 0.287 kPa.m3/kg.K (Table A-1). The constant pressure specific heat of air at room temperature is cp = 1.005 kJ/kg.K (Table A-2). The properties of R-134a at the inlet and the exit states are (Tables A-11 through A-13)

P1=120 kPa  h1=hf+x1hfg=22.49+0.3×214.48=86.83 kJ/kg1

AIR

R-134a

1

2

3

4

2 kg/min

6 m3/min

sat. vapor

T2=120 kPa  h2=hg@120  kPa=236.97 kJ/kg2g@120  kPa

Analysis (a) The mass flow rate of air is

mair=P3V3RT3=100  kPa6  m3/min0.287  kPa⋅m3/kg⋅K300  K=6.97  kg/min

We take the entire heat exchanger as the system, which is a control volume. The mass and energy balances for this steady-flow system can be expressed in the rate form as

Mass balance ( for each fluid stream):

min−mout=ΔmsystemÃ0  (steady)=0    → min=mout → m1=m2=mair   and   m3=m4=mR

Energy balance (for the entire heat exchanger):

Ein−EoutunderbracealignlRate of net energy transfer by heat, work, and mass=ΔEsystemÃ0  (steady)underbracealignlRate of change in internal, kinetic,         potential, etc. energies=0Ein=Eout m1h1+m3h3=m2h2+m4h4   (since   {Q=W=Δke≃Δpe≃0)

Combining the two,     mRh2−h1=mairh3−h4=maircpT3−T4

Solving for T4,	T4=T3−mRh2−h1maircp

Substituting,	T4=27°C−(2 kg/min)(236.97−86.83) kJ/kg(6.97 kg/min)(1.005 kJ/kg⋅K)=−15.9°C=257.1 K

Noting that the condenser is well-insulated and thus heat transfer is negligible, the entropy balance for this steady-flow system can be expressed as

Sin−SoutunderbracealignlRate of net entropy transfer      by heat and mass+SgenunderbracealignlRate of entropy    generation=ΔSsystemÃ0(steady)underbracealignlRate of change   of entropym1s1+m3s3−m2s2−m4s4+Sgen=0   (since  Q=0)mRs1+mairs3−mRs2−mairs4+Sgen=0

or,

Sgen=mRs2−s1+mairs4−s3

where

s4−s3=cplnT4T3−RlnP4Ã0P3=cplnT4T3=(1.005 kJ/kg⋅K)ln257.1 K300 K=−0.1551 kJ/kg⋅K

Substituting,

Sgen=2  kg/min0.9478-0.3493  kJ/kg⋅K+(6.97 kg/min)(−0.1551 kJ/kg⋅K)0.116 kJ/min⋅K0.00193   kW/K

(b)  When there is a heat gain from the surroundings at a rate of 30 kJ/min, the steady-flow energy equation reduces to

Qin=mRh2−h1+maircpT4−T3

Solving for T4,	T4=T3+Qin−mRh2−h1maircp

Substituting,	T4=27°C+(30 kJ/min)−(2 kg/min)(236.97−86.83) kJ/kg(6.97 kg/min)(1.005 kJ/kg⋅K)=−11.6°C=261.4 K

The entropy generation in this case is determined by applying the entropy balance on an extended system that includes the evaporator and its immediate surroundings so that the boundary temperature of the extended system is the temperature of the surrounding air at all times. The entropy balance for the extended system can be expressed as

Sin−SoutunderbracealignlRate of net entropy transfer      by heat and mass+SgenunderbracealignlRate of entropy    generation=ΔSsystemÃ0(steady)underbracealignlRate of change   of entropyQinTb,out+m1s1+m3s3−m2s2−m4s4+Sgen=0QinTsurr+mRs1+mairs3−mRs2−mairs4+Sgen=0

or 	Sgen=mRs2−s1+mairs4−s3−QinT0

where	s4−s3=cplnT4T3−RlnP4ä0P3=(1.005 kJ/kg⋅K)ln261.4 K300 K=−0.1384 kJ/kg⋅K

Substituting,

Sgen=2  kg/min0.9478−0.3493 kJ/kg⋅K+6.97  kg/min−0.1384  kJ/kg⋅K−30  kJ/min305  K0.1340  kJ/min⋅K0.00223   kW/K

Discussion Note that the rate of entropy generation in the second case is greater because of the irreversibility associated with heat transfer between the evaporator and the surrounding air.